## Lumos Solutions - Asteria G19 Globe Family by ALT LED

# Product Information

ALT’s Asteria was originally designed to resemble and be used instead of the traditional light bulb. When matched up with a traditional light bulb, ALT’s Asteria is much more efficient in terms of LED benefits, including safety, energy – saving and environmental friendliness.

# Features

- Fits various environments with a 180 degree beam angle.

- Elegant, rich and long-lasting lighting output ideal for Interior design.

- High density aluminum increase heat dissipation

- Up to 90% energy saving compared to standard halogen lamp.

# Applications

- Shop Lighting

- Commercial Lighting

- Boutique Lighting

- Illumination Lighting

- Hotel Lighting

| Item | Specification | Details |
| --- | --- | --- |
| Output | Beam Angle Colour Range Lumen Maintenance | 180° True White, Warm White, Natural White, Red, Green, Blue 20.000+ hours |
| Electrical | Input Voltage Power Consumption Bases | 100 – 240V AC 5W, 7W GU5.3, E27, GU10, E14, B22D |
| Physical | Weight Operating Temperature | 0.9 oz. – 1.7 oz. -20°C to +40°C |
| Certification and Safety | Certifications Environment Warranty | CE, FCC, TÜV, LVD, RoHs, Laser Testing Not for use in totally enclosed fixtures Suitable for damp location 2 year limited |

# Specifications

# Chipset Luminaire

V1 Series

| Power Consuption |  | 5 Watts | 7 Watts |
| --- | --- | --- | --- |
| True White | CRI 70 | 220 lm | 250 lm |
|  | CRI 90 | 176 lm | 200 lm |
| Natural White | CRI 70 | 220 lm | 250 lm |
|  | CRI 90 | 176 lm | 200 lm |
| Warm White | CRI 70 | 150 lm | 170 lm |
|  | CRI 90 | 120 lm | 136 lm |
| Red |  | 120 lm | 140 lm |
| Green |  | 140 lm | 170 lm |
| Blue |  | 70 lm | 80 lm |

V2 Series

| Power Consuption |  | 7 Watts |
| --- | --- | --- |
| True White | CRI 70 | 350 lm |
|  | CRI 90 | 280 lm |
| Natural White | CRI 70 | 350 lm |
|  | CRI 90 | 280 lm |
| Warm White | CRI 70 | 280 lm |
|  | CRI 90 | 225 lm |

V3 Series

| Power Consuption |  | Cree - 7 Watts |
| --- | --- | --- |
| True White | CRI 80 | 475 lm |
|  | CRI 90 | - |
| Natural White | CRI 80 | 410 lm |
|  | CRI 90 | - |
| Warm White | CRI 80 | 355 lm |
|  | CRI 90 | - |
| Red |  | - |
| Green |  | - |
| Blue |  | - |